## 16-100 parts
Spare part list
INFINIA GE | [6 empty] | MFG OF SYSTEM | GE
# | Belong to | Part number | Item name | Quantity | BAG | Box | GE Nuclear Medidcine
| Gantry |  | Gantry bore | 1 |  |  | GE
| Gantry | ASM000936 | QUASAR HEAD 1 CABLE ASSY. | 1 |  |  | INFINIA
|  | ASM000937 | QUASAR HEAD 2 CABLE ASSY. | 1 |  |  | INFINIA
|  | ASM001175 | BC MECHANISM 2 | 1 |  |  | without CBCIC
|  | ASM00 | Stretcher support assembly - full |  |  |  | INFINIA
|  | ASM001393 | ROTOR POWER SUPPLY | 1 |  |  | INFINIA
|  | ASM001245 | ROTOR CRATE ASSY | 1 |  |  | INFINIA
|  | DTP000270 | INFINIA MAIN TRANSFORMER | 1 |  |  | INFINIA
|  | PS830020101 | P.S. 700-1500V/20MA | 1 |  |  | INFINIA
|  | ASM000289 | LATERAL MOTOR ASSY or 2199406 | 1 |  |  | INFINIA
|  | DTP000038 | Lateral gear | 2 |  |  | INFINIA
|  |  | Spline + bearing | 1
|  |  | Lateral lead screw with ball nut | 2
|  | B 010200028 | rotation motor | 1 |  |  | INFINIA
|  | ASM001150 | ROTATION GEAR ASSM | 1 |  |  | INFINIA
|  | ASM001286 | FOV GLUEING | 2 |  |  | INFINIA
|  | MEC006312 | FOV GLUEING | 1 |  |  | INFINIA
|  | 5241568 | Detector Infinia Detector 3/8" | 1
|  |  | Radial gear & motor | 2
|  |  | Radial lead screw & ball nut | 2
|  |  | Swivel worm gear | 2
|  | ASM001188 | SWIVEL MOTOR ASSY FOR QUASAR | 2 |  |  | INFINIA
|  | ASM001252 | DECOY COLLIMATOR H2 | 1 |  |  | INFINIA
|  | ASM001260 | FRONT BRACKET PLATE 2 ASSY | 1 |  |  | INFINIA
|  |  | Lateral linear bearing | 1
|  |  | Radial brake | 2
|  | ASM001394 | ROTATION BRAKE | 1 |  |  | INFINIA
|  |  | Hawkeye 1 cables | Set |  |  | INFINIA
|  |  | CDL slipring | 1 |  |  | INFINIA
|  |  | CDL outer ring | 1 |  |  | INFINIA
|  | MEC000447 | RADIAL#2 CIC - ROTOR CRATE I/O #2 | 2 |  |  | INFINIA
|  |  | Rotor metal cover cover (back) | 2 |  |  | INFINIA
|  | CBL001108 | QUASAR GANTRY E-STOP CABLE | 1 |  |  | INFINIA
|  |  | P SCOPE 12V POWER CABLE | 1 | 1 | 1 | INFINIA
|  | CBL001111 | QUASAR ROTATION BRAKE CABLE | 1 | 1 | 1 | INFINIA
|  | 475 3681 4107 | HV PS CABLE | 2 | 1 | 1 | INFINIA
|  | CBL001307 | HCIC TO SWIVEL CABLE | 1 | ` | 1 | INFINIA
|  |  | SWIVEL SWITCHES & FLAGS | 1 | 2 | 1 | INFINIA
|  | CBL001594 | INFINIA ~ELMO~ SIGNAL CABLE | 1 | 3 | 1 | INFINIA
|  | PCA000526 | FOX/POP | 1 |  |  | INFINIA
|  | PCA000475 | FOX POP INTERFACE | 1 |  |  | INFINIA
|  | PCA000547 | FOX/POP |  |  |  | INFINIA
|  |  | ROTOR Crate i/o 1 to radial #1 cic | 1 | 3 | 1 | INFINIA
|  | CBL000337 | IO #1 MOTOR CABEL | 1 | 3 | 1 | INFINIA
|  | CBL001327 | QUASAR RCU SIGNALS CABLE | 1 | 3 | 1 | INFINIA
|  | CBL000407 | IN/OUT 1 LOAD ENCODER CABLE | 1 | 3 | 1 | INFINIA
|  | 77531001103 | IN /OUT LOAD#2 - IN/OUT CIC #2 | 1 | 3 | 1 | INFINIA
|  |  | RADIAL#2 CIC - ROTOR CRATE I/O #2 | 1 | 3 | 1 | INFINIA
|  |  | Ground wires | 3 | 4 | 1 | INFINIA
|  | CBL000404 | CORD, H.V. CONTROL CABLE | 1 | 4 | 1 | INFINIA
|  | 475 3681 2002 | AUX PS - M.B | 1 | 4 | 1 | INFINIA
|  | CBL001048 | GANTRY SLIP RING DISPLAY POWER CABLE | 1 | 4 | 1 | INFINIA
|  | CBL001326 | QUASAR DISPLAY DATA CABLE | 1 | 4 | 1 | INFINIA
|  | CBL001051 | QUASAR ROTATION 2 CABLE | 1 | 4 | 1 | INFINIA
|  |  | Gramoshkas |  | 5 | 1 | INFINIA
|  |  | Gramoshkas | 2 | 6 | 1 | INFINIA
|  | 475 3681 2804 | CIC / I/O m.s | 1 | 2 | 1 | INFINIA
|  | CBL000868 | POWER CDL - | 1 | 7 | 1 | INFINIA
|  | CBL000864 | ROTOR MB TO CDL CABLE | 1 | 7 | 1 | INFINIA
|  | CBL000870 | ROTOR CRATE MB - AUX SR P2001& P 2003 | 1 | 7 | 1 | INFINIA
|  | 775 3100 1004 | BCLINR SAFAM | 1 | 7 | 1 | INFINIA
|  | CBL001053 | MISC CDL BRUSH BLOCK POWER CABLES |  | 8 | 1 | INFINIA
|  | CBL001045 | IPS - RECEIVER & TRANSMITER | 1 | 7 | 1 | INFINIA
|  | 475 3681 290 | CIC P702 - M/S | 1 | 5 | 1 | INFINIA
|  | PCA000066 | C.I.C. | 3 | 9 |  | INFINIA
|  | 470-3650-0905/A | LEB | 2 | 9 |  | INFINIA
|  | PCA000537 | SCB BOARD | 1 | 9 |  | INFINIA
|  | 470 3685 0916 | BCLINR SAFAM | 1 | 9 |  | INFINIA
|  |  | BCLINT | 1 |  |  | INFINIA
|  | E30001379B | ZERO ROTATION pcb + cable | 1 |  |  | INFINIA
|  |  | Misc brackets & Gantry metal covers |  |  | 2 | INFINIA
|  | CBL001418 | SERVICE SWITCH CABLE | 1 | 10 |  | INFINIA
|  | CBL000702 | Analog IO cable | 1 | 11 | 3 | INFINIA
|  | W9 | ANALOGIC W9 | 1 |  | 3 | INFINIA
|  | W11 |  | 1 |  | 3 | INFINIA
|  | CBL000706 | HV AC cable | 1 |  | 3 | INFINIA
|  | W4 |  | 1 |  | 3 | INFINIA
|  | W5 |  | 1 |  | 3 | INFINIA
|  | W7 | SCSI | 1 |  | 3 | INFINIA
|  | CBL000703 | HAWKEYE PS AC | 1 |  | 3 | INFINIA
|  | W6 | DIGITAL I/O | 1 |  | 3 | INFINIA
|  | W3 |  | 1 |  | 3 | INFINIA
|  | CBL000701 | HAWKEYE PS AC | 1 |  | 3 | INFINIA
|  | CBL000705 | HAWKEYE DC POWER DAS | 1 |  | 3 | INFINIA
|  | CBL000700 | ROTOR CRATE - DAS CABLE | 1 |  | 3 | INFINIA
|  |  | Radial Load encoders ruler | 2 |  | 3 | INFINIA
|  | ASM001189 | ACTUATOR ASSY | 1 |  | 3 | INFINIA
|  |  | Cross bar spring | 1 |  | 3 | INFINIA
|  |  | Cross bar nadneda + pin | 1 |  | 3 | INFINIA
|  |  | Swivel motor + 2 timing belts | 1 |  | 3 | INFINIA
|  |  | Patient table |  |  |  | INFINIA
|  |  | Patient table covers |  |  | On table | INFINIA
|  |  | Detector # 1 | 1 |  |  | INFINIA
|  |  | detector cover |  |  |  | INFINIA
|  |  | Cover set |  |  |  | INFINIA
|  |  | Cros bar |  |  |  | INFINIA
|  | PS830000003 | HV PS | 3 |  |  | INFINIA
|  |  | HCIC | 2 |  |  | INFINIA
|  | ASM001458 | INFINIA II DISPLAY RCU HOLDER | 2 |  | On table | INFINIA
|  |  | P-Scope monitor | 2 |  | On table | INFINIA
|  | ASM001286 | DOC & ADAM mech assembly | 1 |  | In other warehouse | INFINIA
|  | PCA000462 | CBCIC | 1 |  | Including the housing | INFINIA
|  | MEC007559 | BACK_HEAD_PIN | 2 |  |  | INFINIA
|  | MEC007479 | HEAD FRONT PIN 2 | 2 |  |  | INFINIA
|  | PCA000541 | Stretcher Support Board | 2 |  |  | INFINIA
|  | PCA000453 | SCB Board with new PCB | 3 |  |  | IINFINIA
|  | PCA000454 | Display Interface Board | 1 |  |  | IINFINIA
|  | ASM500085 | INFINIA II RCU Assembly | 2 |  |  | INFINIA
|  | UGP001675 | Rotation Gear Assm | 1 |  |  | INFINIA
|  | ASM001394 | Rotation Brake | 1 |  |  | INFINIA
|  | 5176430 | Tuba Rotation Driver | 2 |  |  | INFINIA
|  | UGP001649 | Motor Servo | 1 |  |  | INFINIA
|  | PW000100033 | Board-SAX PCD-ELMA103A-01 | 2 |  |  | INFINIA
|  | ASM001483 | INFINIA II Encoder and Motor Assy | 1 |  |  | INFINIA
|  | 5196790 | Stretcher Support Roller | 2 |  |  | INFINIA
|  | DTP000132 | QUASAR Main Transformer | 1 |  |  | INFINIA
|  | 2369431 | Brush Block – Auxiliary and Power | 2 |  |  | INFINIA
|  | 2378202 | ECL Transmitter | 1 |  |  | INFINIA
|  | 2378203 | ECL Receiver | 1 |  |  | INFINIA
|  | CBL000406 | Cord, IN/OUT 2 Load Encoder Cable | 1 |  |  | INFINIA
|  | CBL000407 | Cord, IN/OUT 1 Load Encoder Cable | 1 |  |  | INFINIA
|  | CBL000332 | I/O #1 Brake Cable | 1 |  |  | INFINIA
|  | CBL000333 | I/O #2 Brake Cable | 1 |  |  | INFINIA
|  | CBL000337 | I/O #1 Motor Cable | 1 |  |  | INFINIA
|  | CBL000338 | I/O #2 Motor Cable | 1 |  |  | INFINIA
|  | CBL000351 | I/O #1 L.Switch | 1 |  |  | INFINIA
|  | CBL000352 | I/O #2 L.Switch | 2 |  |  | INFINIA
|  | CBL000356 | L/R Limit Switch | 2 |  |  | INFINIA
|  | CBL001307 | HCIC-to-Swivel Cable | 2 |  |  | INFINIA
|  | CBL001314 | CBCIC-to-HCIC Cable | 2 |  |  | INFINIA
|  | CBL000364 | H.V. Cable | 2 |  |  | INFINIA
|  | CBL000864 | Rotor MB-to-CDL Cable | 1 |  |  | INFINIA
|  | CBL000868 | Rotor CDL Power Cable | 1 |  |  | INFINIA
|  | CBL000870 | Rotor MB-to-CDL S.R. | 1 |  |  | INFINIA
|  | CBL000871 | CDL S.R Motor Cable | 1 |  |  | INFINIA
|  | CBL001519 | QUASAR POP-FOX Extender Cable | 2 |  |  | INFINIA
|  | ASM000936 | QUASAR HEAD 1 Cable Assy. | 2 |  |  | INFINIA
|  | ASM000937 | QUASAR HEAD 2 Cable Assy. | 2 |  |  | INFINIA
|  | PCA000472 | AIACODE Board II | 2 |  |  | INFINIA
|  | ASM001632 | Brush Block Assmbly | 2 |  |  | INFINIA
|  | 47036810308 | AUX PS | 1 |  |  | INFINIA
|  | PCA000369 | Head Card Assembly | 2 |  |  | INFINIA
|  | PCA000462 | Cross Bar CIC Board | 2 |  |  | INFINIA
|  | PCA000490 | BCRV_I (Body Contour Receiver) | 2 |  |  | INFINIA
|  | PCA000491 | BCTV_I (Body Contour Transmitter) | 2 |  |  | INFINIA
|  | 2199382 | COLL ID | 4 |  |  | INFINIA
|  | PCA000461 | Head CIC for QUASAR | 2 |  |  | INFINIA
|  | 2199386 | BCLINR Board | 2 |  |  | INFINIA
|  | PCA000388 | BCLINT Board (New Transmitter LED) | 2 |  |  | INFINIA
|  | PCA000069 | LEB Card | 3 |  |  | INFINIA
|  | PCA000362 | BCHEAD Head Connector Card | 1 |  |  | INFINIA
|  | PCA000475 | FOX POP Interface | 2 |  |  | INFINIA
|  | PCA000526 | FOX POP Board | 1 |  |  | INFINIA
|  | PCA000540 | FOX POP Board | 1 |  |  | INFINIA
|  | ASM001485 | IN/OUT Gear Motor | 2 |  |  | INFINIA
|  | ASM001484 | IN/OUT Gear Brake | 2 |  |  | INFINIA
|  | 2199392 | IN/OUT Motor Assy | 2 |  |  | INFINIA
|  | HG000300005 | Ball Nut for Screw (OD = 25mm) LE | 1 |  |  | INFINIA
|  | HG001500003 | Ball Screw (OD = 25 LEAD = 25) | 1 |  |  | INFINIA
|  | 5197899 | IN/OUT Brake | 1 |  |  | INFINIA
|  | 2199406 | L/R Motor Assy /ASM000289 | 1 |  |  | INFINIA
|  | MEC000055 | L/R Motor Pulley | 1 |  |  | INFINIA
|  | 56236532513 | Safety Nut | 2 |  |  | INFINIA
|  | MEC002445 | L/R Safety Nut | 2 |  |  | INFINIA
|  | B010725203 | Lateral Gear Box (Ratio 1:48) | 2 |  |  | INFINIA
|  | UGP500240 | Lateral Bearing Replacement Collection Par ts | 2 |  |  | INFINIA
|  | ASM001168 | CED PSD 2 Assy | 2 |  |  | INFINIA
|  | DTP000190 | Spring, BC Cross-Bar PSD | 2 |  |  | INFINIA
|  | ASM001167 | CED PSD 1 Assy | 2 |  |  | INFINIA
|  | ASM001189 | Actuator Assy | 2 |  |  | INFINIA
|  | MEC008244 | BC Actuator Spring | 1 |  |  | INFINIA
|  | ASM001245 | Rotor Crate Assy | 1 |  |  | INFINIA
|  | 2199402 | Rotor Crate Fan Assy | 1 |  |  | INFINIA
|  | PS830020101 | PS 700-1500V/20MA | 1 |  |  | INFINIA
|  | 5182159 | Rotor Power Supply | 2 |  |  | INFINIA
|  | ASM001188 | Swivel Motor Assy for QUASAR | 2 |  |  | INFINIA
|  | DTP000143 | Pulley | 2 |  |  | INFINIA
|  | DTP000208 | Swivel Worm Gear -1 | 2 |  |  | INFINIA
|  | HG000533015 | Belt, Timing, Synchronous, 3MR-330-15 | 3 |  |  | INFINIA
|  | MEC007320 | Antenna | 2 |  |  | INFINIA
|  | ASM001177 | Switch Unit-2 Assy | 1 |  |  | INFINIA
|  | DTP000209 | Swivel Worm Gear - 2 | 1 |  |  | INFINIA
|  | ASM001176 | Switch Unit-1 Assy | 1 |  |  | INFINIA
|  | ASM001220 | Cable and Card Assy | 1 |  |  | INFINIA
|  | ASM000933 | VG8 Blower Assembly | 3 |  |  | INFINIA
|  | 5241568 | Infinia Detector 3/8" | 2 |  |  | INFINIA
|  | PCA000464 | ADAMS DVH 6 | 4 |  |  | INFINIA
|  | 5240969 | PDOC Board | 2 |  |  | INFINIA
|  | PCA 000512 | PDOC Board | 4 |  |  | INFINIA
|  | 5241057 | PCAD and PDOC Boards | 2 |  |  | INFINIA
|  | CBL001117 | PM Adapter Cable 1 | 2 |  |  | INFINIA
|  | CBL001118 | PM Adapter Cable 2 | 2 |  |  | INFINIA
|  | CBL001119 | PM Adapter Cable 3 | 2 |  |  | INFINIA
|  | CBL001120 | PM Adapter Cable 4 | 2 |  |  | INFINIA
|  | CBL001121 | PM Adapter Cable 5 | 2 |  |  | INFINIA
|  | CBL001122 | PM Adapter Cable 6 | 2 |  |  | INFINIA
|  | CBL001100 | PM Cable Assembly | 2 |  |  | INFINIA
|  | 5197775 | AIACODE Board Kit for Hawkeye 4 | 2 |  |  | INFINIA
|  | PCA000462 | Cross Bar CIC Board | 2 |  |  | INFINIA
|  | 5241568 | Infinia Detector 3/8" | 2 |  |  | INFINIA
|  | 5306783 | Hamamatsu 3" (Class 2) INFINIA NEW | 34 |  |  | INFINIA
|  | 5306784 | Hamamatsu 3" (Class 3) INFINIA NEW | 43 |  |  | INFINIA
|  | 5306785 | Hamamatsu 3" (Class 4) INFINIA NEW | 55 |  |  | INFINIA
|  | 5306786 | Hamamatsu 3" (Class 5) INFINIA NEW | 55 |  |  | INFINIA
|  | 5346809 | Hamamatsu 1.5 (Class 2) INFINIA NEW | 12 |  |  | INFINIA
|  | 5346809 | Hamamatsu 1.5 (Class 3) INFINIA NEW | 12 |  |  | INFINIA
|  | 5346809 | Hamamatsu 1.5 (Class 4) INFINIA NEW | 12 |  |  | INFINIA
|  | 5178133 | INFINIA II IPS Complete Assy | 1 |  |  | INFINIA
|  | 5179666 | INFINIA II IPS Assy without SEM | 1 |  |  | INFINIA
|  | ASM000886 | IPS Power Supply Assembly | 2 |  |  | INFINIA
|  | ASM001156 | IPS Fan Final Assembly | 2 |  |  | INFINIA
|  | ASM001275 | SSR Pwr Unit Assy | 1 |  |  | INFINIA
|  | ASM001287 | IPS Connector Panel Assembly | 1 |  |  | INFINIA
|  | ASM001100 | QUASAR Emergency Box Assembly | 1 |  |  | INFINIA
|  | 5178129 | Motor Driver 55V/15A 3 Axes | 3 |  |  | INFINIA
|  | 5176677 | Motor Driver 200V/15A 3 Axes | 3 |  |  | INFINIA
|  | PCA000525 | SEM Board 1 | 3 |  |  | INFINIA
|  | PCA500013 | SEM Board for Hawkeye 4 | 1 |  |  | INFINIA
|  | PCA500008 | SEM Board for Infinia II | 1 |  |  | INFINIA
|  | PCA000519 | SEM Board for Infinia I | 1 |  |  | INFINIA
|  | 5165063 | Hawkeye 4 Control Board Assembly | 1 |  |  | INFINIA
|  | BR321000010 | BR321000010 Hawkeye Generator | 2 |  |  | INFINIA
|  | BR321000009 | HVPS Controller | 2 |  |  | INFINIA
|  | BR321000007 | V-DAS Monitor | 2 |  |  | INFINIA
|  | BR321000008 | Detector Assembly | 2 |  |  | INFINIA
|  | BR321000002 | V-DAS 1 | 2 |  |  | INFINIA
|  | BR321000003 | Filter (for V-DAS - BR321000002) | 2 |  |  | INFINIA
|  | BR321000004 | Post Regulator | 16 |  |  | INFINIA
|  | BR321000005 | AUX Assembly | 2 |  |  | INFINIA
|  | BR321000006 | DAS Control Card | 2 |  |  | INFINIA
|  | UGP001507 | HAWKEYE DC Power Supply with ON/OFF Control | 2 |  |  | INFINIA
|  | DTP000095 | Phantom for HAWKEYE | 1 |  |  | INFINIA
|  | UGP000967 | Phantom Holder for HAWKEYE | 1 |  |  | INFINIA
|  | 5173566 | INFINIA Table - ECG Ready | 1 |  |  | INFINIA
Table assy
|  | 5165737 | Up/Down Motor | 1 |  |  | INFINIA
|  | ASM000952 | Tilt Encoder with Cable | 1 |  |  | INFINIA
|  | HG83000008B | Actuator Motorized Left | 1 |  |  | INFINIA
|  | HG83000009B | Actuator Motorized Right | 1 |  |  | INFINIA
|  | 5167829 | Fwd/Bwd Unit | 1 |  |  | INFINIA
|  | 5165794 | Stretcher Clutch | 1 |  |  | INFINIA
|  | 5165281 | Fwd/Bwd Motor | 1 |  |  | INFINIA
|  | ASM000954 | Bwd/Fwd Load Encoder with Cable | 1 |  |  | INFINIA
|  | 5165102 | Pin Stopper | 1 |  |  | INFINIA
|  | UGP500061 | Encoder Bwd/Fwd Assembly | 1 |  |  | INFINIA
|  | UGP500060 | Encoder Up/Down Assembly | 1 |  |  | INFINIA
|  | PCA000384 | TCIC Board Assembly 1 | 1 |  |  | INFINIA
|  | P060100001 | Jumper Female between 2 PIN | 1 |  |  | INFINIA
|  | 2199263 | C.I.C. Board 1 | 1 |  |  | INFINIA
|  | 2199583 | P.S. 5 VDC 15.0A SW. 85-265 | 1 |  |  | INFINIA
|  | 56136511211 | Roller | 2 |  |  | INFINIA
|  | DTP000087 | VG Mattress | 1 |  |  | INFINIA
|  | DTP000178 | Stretcher - Composiflex | 1 |  |  | INFINIA
|  | HD000300034 | Wheel (D = 100 mm; Load: 200 Kg) | 1 |  |  | INFINIA
|  | HG000500026 | Belt, Timing (160 grooves per inch) | 1 |  |  | INFINIA
|  | 5174072 | Chiron Acquisition Computer - HP XW4300 | 1 |  |  | INFINIA
|  | 5179488 | Network Card Intel 1 | 1 |  |  | INFINIA
|  | 5177387 | Camera Interface Board (CIB) | 1 |  |  | INFINIA
|  | PCA000528 | Camera I/F Board (CIB) for Infinia II | 1 |  |  | INFINIA
|  | DTP000201 | HP XW4000 for QUASAR | 1 |  |  | INFINIA
|  | PCA000497 | Camera I/F Board (CIB) for Infinia I | 1 |  |  | INFINIA
|  | E0300001023 | SLIPRING BRUSH BLOCK | 2 |  |  | INFINIA
|  | UGP5000266 | HERMONICA DRIVER PALLET SUPPORT | 2 |  |  | INFINIA
|  | CBL001648 | SLIPRING DATA CABLR | 1 |  |  | INFINIA
|  | ASM001084 | ROTOR POWER SUPPLY | 3 |  |  | INFINIA
|  | PCA000512 | PDOC | 3 |  |  | INFINIA
|  | ASM001100 | EMERGENCY BOX ASSY | 1 |  |  | INFINIA
|  | ASM001184 | BODY CONTOUT MECH HEAD 1 | 1 |  |  | INFINIA
|  | ASM001175 | BODY CONTOUT MECH HEAD 2 | 1 |  |  | INFINIA
|  | ASM001366 | RCU INFINIA 1 | 2 |  |  | INFINIA
|  | ASM001185 | SWIVEL ASSY HEAD 1 | 1 |  |  | INFINIA
|  | ASM001186 | SWIVEL ASSY HEAD 2 | 1 |  |  | INFINIA
|  | 5317933 | SEM INFINIA 4 | 1 |  |  | INFINIA
|  | PS830020101 | HV POWER SUPPLY | 3 |  |  | INFINIA
|  | BR321000010 | Hawkeye Generator | 2 |  |  | INFINIA
|  | BR321000009 | HVPS Controller | 2 |  |  | INFINIA
|  | BR321000007 | V-DAS Monitor | 2 |  |  | INFINIA
|  | BR321000008 | Detector Assembly | 2 |  |  | INFINIA
|  | BR321000002 | V-DAS | 2 |  |  | INFINIA
|  | BR321000003 | Filter (for V-DAS - BR321000002) | 2 |  |  | INFINIA
|  | BR321000004 | Post Regulator | 2 |  |  | INFINIA
|  | BR321000005 | AUX Assembly | 1 |  |  | INFINIA
|  | BR321000006 | DAS Control Card | 1 |  |  | INFINIA
|  | UGP001507 | HAWKEYE DC Power Supply with ON/OFF Control | 1 |  |  | INFINIA
|  | 5174072 | Chiron Acquisition Computer - HP XW4300 | 1 |  |  | INFINIA
|  | 5177387 | Camera Interface Board (CIB) | 2 |  |  | INFINIA
|  | UGP001608 | Infinia II Computer Collector | 2 |  |  | INFINIA
|  | 5175461 | Infinia I Computer Collector | 2 |  |  | INFINIA
|  | PCA000528 | Camera I/F Board (CIB) for Infinia II | 4 |  |  | INFINIA
|  | DTP000201 | HP XW4000 for QUASAR | 1 |  |  | INFINIA